## VIRAL LOAD STATISTICS
|  | REPORTING MONTH/YEAR: SEPTEMBER/2016 | [5 empty] | DATE STARTED VL TESTING: |  |  |  |  | 0 | TOTAL COVERAGE OF REFERRAL NETWORK*: (278 ) /( 719 ) = 38.6%
COVERAGE OF PRIORITY SITES: (168) / (540) = 31%
Count | Testing Laboratory | Province | District | Site Name | IPSL # | # of Rejections | Viral load Results-Peds |  | Viral Load results-Adults |  |  |  | Viral Load Results Totals |  | Age/Sex Unknown |  | Totals |  | Total Test per facility | Comments
[7 empty] | <14 yrs <=1000 copies/ml | <14 yrs >1000 copies/ml | >14yrs Male <=1000 copies/ml | >14yrs Male >1000 copies/ml | >14yrs Female <=1000 copies/ml | >14yrs Female >1000 copies/ml | <=1000 copies/ml | >1000 copies/ml | Unknown Age/Sex <=1000ml | Unknown Age/Sex >1000ml | <=1000 copies/ml | >1000 copies/ml

## SUPER-LAB PERFORMANCE REPORT
REPORTING MONTH/YEAR:
VL
| Province | District | Super Lab Name | IPSL # | Total Number of VL samples Received at Laboratory | Total Number of Viral load tests done (with results) | Total number of results received at facility/hub | No. of failed tests | No. of samples rejected | Average result TAT (lab) in days | Average result TAT -Total ( from sample collection to results getting to the facility/hub) in days | Rejection Rate | Viral Load PT date | Viral Load PT Result (Pass/ Fail) | Viral Load PT Corrective actions completed (Yes/No/NA) | Red Flags & Highlights
1 |  |  | BRIDH | 100050 | 6089 | 7358 | 7358 | 210 | 33 | 15 | 17 | 0.4485% | 16/5/2016 | Pass | N/A
2 |  |  | Mpilo | 101041 | 642 | 3542 | 3542 | 308 | 20 | 53 | 60 | 0.5647% | 16/5/16 | Pass | N/A | Samples were frozen and on testing there were microclots which resulted in many failed tests. Cetrifugation and aliquoting/seperating techniques procedures have now been improved being 22 failed tests were due to hardware error.
3 |  |  | Mutare | 101165 | 2065 | 2042 | 2042 | 21 | 23 | 2.5 | 10 | 1.126% | 16/5/16 | Pass | N/A
4 |  |  | Chinhoyi | 100235 | 1563 | 1386 | 1386 | 58 | 119 | 3 | 4 | 8.586% | 30//9/16 | Pending |  | Power outages cause abortion of run and the UPS installed is inadequate since it covers only 10mins between outage and generator kickoff which is too short.There is need to add more racks to speed up testing as 3 are slowing the process down.
5 |  |  | Masvingo | 100937 | 898 | 412 | 412 | 25 | 8 | 2 | 8.5 | 1.942% | 30/9/2016 | Pending |  | Power cuts, Staff shortage for
6 |  |  | Gweru | 100572 | 255 | 249 | 249 | 2 | 6 | 2 | 7 | 2.41% | 30/09/16 | Pending |  | There was only one week of testing this month
| Totals |  |  |  | 11512 | 14989 | 14989 | 624 | 209 | 12.9167 | 17.75 | 1.394%
EID
| Province | District | Super Lab Name | IPSL # | Total Number of EID samples Received at Laboratory | Total Number of EID tests done (with results) | Total number of results received at facility/hub | No. of failed tests | No. of samples rejected | Average result TAT (lab) | Average result TAT -Total ( from sample collection to results getting to the facility/hub) |  | EID PT date | PT Result (Pass/ Fail) | Corrective actions completed (Yes/No/NA) | Red Flags & Highlights | Total DNA PCR Positive
1 |  |  | Mpilo | 101041 | 1477 | 1417 | 1417 | 7 | 53 | 13days | 16days | 3.5% | 24/5/16 | Pass | NA |  | 35 | 3.74%
2 |  |  | Mutare | 101165 | 958 | 950 | 950 | 21 | 8 | 2.5 days | 10 days | 0.8% | 24/05/2016 | Pass | N/A |  |  | 0.8421%

## REJECTIONS & FAILURES
SPECIMEN REJECTION | Reason of rejection | Frequency of Occurrence
| Different Reasons | 209
Total Number Rejected | 209
Rejection rate | 0.0934%
ASSAY FAILURE | Error /Reason for Failure | Frequency
| Various Reasons | 624
Total Number Failed | 624
Failuture Rate | 4.163%